## Audit details
NAME AND ADDRESS OF PREMISES:
TELEPHONE NUMBER:
OWNER NAME:
EMAIL CONTACT DETAILS
NUMBER OF EMPLOYEES
DATE OF AUDIT:
NAME OF AUDITOR:
This audit tool is to be used by practitioners, primarily, to enable good practice to be captured and documented. It can also identify best practice gaps which will need action to be taken using an action planning process.
Please allow approximately two hours to undertake the audit. To receive an automated % score for each standard, you should enter the number '1' in the appropriate 'Yes', 'No' or 'N/A' box. To undertake manual scoring add the total number of 'Yes' answers and divide by the number of questions answered for that standard (excluding the N/As) and then multiply by 100 to get the percentage. To get the score for all the standards and for the audit overall, add the total number for each standard and divide by the number of questions and multiply to get the overall percentage.
*developed using Infection Prevention Society (IPS) audit tools for monitoring IC guidelines withing the community setting (2005); IPS self assessment audit for assessing implementation of HTM 01-05: decontamination in primary care dental practices and related infection prevention and control issues (2009); IPS audit tools for monitoring infection control standards (2004); International Scientific Forum on Home Hygiene (IFH) and IPS home hygiene -prevention of infection at home: a training resource for carers and their trainers (2003)

## Std1
GENERIC AUDIT
STANDARD 1
Hands will be decontaminated correctly and in a timely manner using a cleansing agent to reduce the risk of cross infection
|  | Yes | No | N/A | Comments
1 | There is a liquid hand soap dispenser located near all hand wash basins and sink areas
2 | Liquid soap is in the form of a single use cartridge or disposable pump dispenser
3 | Soft absorbant paper towels in wall mounted paper dispensers are at all wash hand basins and sink areas
4 | There are no re-usable towels used to dry hands
5 | There is an accessible wash hand basin within each treatment/operating area
6 | Hand wash basins are dedicated for the sole use of washing hands
7 | Hand wash basins are free from cups/ drinking facilities and equipment
8 | There are no re-usable nailbrushes used or present at hand wash basins
9 | A supply of clean hot & cold or warm water is available at hand wash basins and sinks
10 | Hand washing facilitites are clean and intact (check sink taps, splashbacks (clean and impervious), soap and dispensers)
11 | The hand wash basin has no plugs and water from taps is not directly situated over plug hole
12 | Mixer taps* (preferably hands free e.g. elbow/wrist operated taps) are available at all hand wash basins in treatment/operating areas
13 | A laminated/wipeable handwashing technique poster is displayed by all wash hand basins
14 | Staff toilets have a hand wash basin, a constant supply of hot and cold or warm water, liquid soap and paper towels
15 | Practitioners nails are short,clean and free from nail extensions and varnish
16 | No wrist watches, stoned rings or other wrist jewellery are worn whilst undertaking a procedure
17 | Alcohol hand rub is available in treatment/ operating areas for practitioner use. If alcohol hand rub is not appropriate, consider appropriate alternatives
18 | Practitioners are encouraged to use hand moisturisers that are pump operated or personal use
19 | There is a foot operated bin for waste towels in close proximity to hand wash basins which are fully operational
20 | All staff members have received hand hygiene procedures training (ask a member of staff), including as part of induction training
Total |  | 0 | 0 | 0
Score |  | #DIV/0!
* as gold standard

## Std2
STANDARD 2
The practice environment is maintained appropriately to reduce the risk of cross infection
|  | Yes | No | N/A | Comments
1 | Overall appearance of environmental area is in good repair and uncluttered sand free from dirt, grease, stains and dust
2 | All areas are light, to allow good visibility, and well ventilated. A minimum lux of 500 is deemed appropriate to provide good lighting.
3 | There is a documented, regular cleaning programme in operation
4 | Cleaning schedule is adhered to (check cleaning records)
5 | There are designated areas and sufficient surface areas for different activities i.e. clear distinction between ‘clean’ and ‘dirty’ operating fields
6 | Operating areas have intact surfaces and are clean and free from extraneous items
7 | Operating / work surfaces are cleaned and disinfected between clients
8 | All sterile products are stored above floor level
9 | Surfaces are easy to clean and impervious to water
10 | All walls, floors and ceilings should be smooth, impervious to water and kept in good repair as to enable easy and effective cleaning
11 | Floor coverings are washable and impervious to moisture
12 | The complete floor, including edges and corners are visibly clean with no visible body substances, dust, dirt or debris
13 | Furniture, fixtures and fittings are visibly clean with no body substances, dust, dirt or debris or adhesive tape
14 | All dispensers, holders and parts of the surfaces of dispensers of soap and alcohol gels products, paper towel/couchroll/toilet paper holders are visibly clean with no body substances, dust, dirt or debris or adhesive tape
15 | Toilets are visibly clean with no body substances, deposits or smears - including underneath toilet seat
16 | Handwash basins are visibly clean with no body substances, dust, limescale stains, deposits or smears
17 | Waste bins are clean, including lid and pedal
18 | Foot pedals of waste bins are in good working order
19 | All contact surfaces in client areas (e.g. couches/chairs) are easy to clean and impervious to water
20 | Chairs and couches are free from rips and tears and should form part of regular maintenance checks
21 | Disposable paper couch/chair rolls are available for use as required and stored in a manner to avoid contamination (e.g. wall mounted)
22 | Where used, disposable paper couch/chair roll is changed between clients
23 | Trolley/work/table surfaces are visibly clean and uncluttered, to enable cleaning
24 | Inbetween use, mop heads should not be left standing in cleaning solution or i.e should be resting in the drainage part of the mop bucket to alow air drying
25 | Mop cleaning solution is changed or renewed when visibly dirty and on a daily basis. Mope cleaning solution efficacy the efficay of the solution should be BS EN 1276 standard
26 | Mop heads are renewed regularly
27 | If not disposable, mops heads are removed at the end of each day, cleaned with detergent and warm water, rinsed with disinfectant, wrung out and left to dry before reuse (e.g. wall mounted or left inverted)
28 | Mop buckets are rinsed clean at the end of the day and left upside down to dry before reuse
29 | There is a suitable sink for filling and emptying the mop buckets of water (i.e. not a hand wash basin)
30 | Treatment/operating room cleaning equipment is stored separately from kitchen cleaning equipment, in a dedicated area
31 | Cleaning cloths are single use and non-shedding
32 | Cleaning equipment is colour coded for use as per the national coding scheme (NPSA)
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Std3
STANDARD 3
Personal protective equipment (PPE) is available and is used appropriately to reduce the risk of cross infection
|  | Yes | No | N/A | Comments
1 | Staff are trained in the use of PPE as part of their induction | Yes
2 | Non sterile gloves (powder free) conforming to European Community (EC) standards are fit for purpose (no splitting etc) and are available for use by practitioners for tattoo and body piercing procedures |  | No
3 | Alternatives to natural rubber latex (NRL) gloves are available for use by practitioners and clients with NRL sensitivity |  |  | N/A
6 | There is an appropriate range of glove sizes available | Yes
7 | Gloves are worn as single use items | Yes
8 | Hands are washed before and after removal of gloves and other PPE used for infection prevention applications | Yes
9 | Gloves are stored appropriately for easy access as well as avoiding contamination | Yes
10 | Appropriate gloves are accessible for when handling chemicals (i.e. when cleaning or undertaking decontamination processes) |  | No
11 | Single use plastic aprons are changed between proceedures | Yes
12 | Aprons are stored appropriately to avoid contamination (e.g. in a wall mounted container) | Yes
13 | Face (e.g. disposable face mask) and eye (e.g. cleanable goggles) equipment are available for use if there is a risk assessment made of there being a high likelihood of any blood/body fluid splashing into the face and eyes (COSHH regs) NB such exposure is unlikely in this setting | Yes
14 | Staff have been trained on the correct use of PPE
15 | Staff members are seen wearing / using PPE appropriately
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Std4
STANDARD 4
Waste is disposed of safely according to current waste legislation and without risk of contamination or injury
|  | Yes | No | N/A | Comments
1 | Staff have been trained in the correct and safe handling and disposal of waste
2 | There is evidence that staff are separating waste correctly (look in bins and ask a practitioner)
3 | There is clear signage (posters) identifying waste segregation in all areas
4 | There are foot operated, lidded bins for all waste types (labelled for type of waste to be disposed of) with bin liner bags in place
5 | All waste bins are in working order
6 | All waste bins are visibly clean- externaly and internally
7 | Waste bags are removed from the treatment/operating areas daily and kept in the dedicated storage area awaiting collection
8 | There is no emptying of offensive waste from one bag to another
9 | Yellow bags with a black stripe (tiger bags)* are used for disposal of offensive waste
10 | Hazardous (sharps) and offensive waste is segregated from domestic waste in storage
11 | There are no overfull bags. All waste bags, other than domestic, are less than 2/3 full
12 | Offensive waste bags are labelled (with number and full post code of the premises) and secured before disposal and stored in a designated area prior to collection for disposal (segregated from other waste)
13 | Hazardous and offensive waste storage area is marked with a biohazard sign
14 | Hazardous and offensive waste storage area is kept secure, cleanable and not accessible to the public or animals
15 | The waste storage area is clean and tidy
16 | For outside hazardous and offensive waste storage areas, the dedicated area should be under cover from the elements, lockable, free from pests and vermin and inaccessible to animals and unauthorised persons/the public
17 | Collection of hazardous and offensive waste is undertaken by a registered waste management company with a valid licence (check records)
18 | Waste contract and any transfer or consignment notes are kept on site. They should identify the type of waste, type of container, quantity of waste, time and place of transfer and name/address of transfer and transferee.
Total |  | 0 | 0 | 0
Score |  | #DIV/0!
* New European waste management legislation, reclassifies non-healthcare waste produced from municipal premises, other than domestic, as offensive
/hygiene waste (e.g. used swabs, gloves, aprons, dye containers, dressings etc). This waste will now be collected in yellow with black stripe ‘tiger’ bags, rather
than yellow bags.

## Std5
STANDARD 5
Sharp instruments are handled safely to reduce the risk of injury and sharps/needlestick or splashes involving blood or body fluids are managed in a way to reduce risk of infection
|  | Yes | No | N/A | Comments
1 | All staff receive training in sharps/splash management of needlestick and are aware of actions to take following an injury (ask a member of staff)
2 | All needlestick/sharps injuries are recorded in an accident book , reported to the manager, and prompt, appropriate action undertaken (i.e. first aid actions taken and then to go to A&E immediately afterwards for risk assessment/treatment)
3 | There is signage (e.g. a poster) displayed for the management of needlestick/sharps injuries or blood/body fluid splashes
4 | Sharps bins are available for use, are of an appropriate size and located within easy reach of practitioner at the point of use
5 | Sharps bins are stored above floor level, below eye level and safely out of reach of children and visitors
6 | Sharps bins conform to British Standard (BS) 7320 (1990)/UN3291
7 | Sharps bins are not filled beyond the indicator mark i.e. less than 2/3full, with no protruding sharps
8 | There are no inappropriate items e.g. packaging or swabs in the sharps bins
9 | Sharps bins are visibly clean with no blood/ body substances, dust, dirt or debris
10 | Sharps bins are assembled correctly and the lid is secure
11 | The temporary closure mechanism is used when the sharps bin is not in use
12 | Full sharps bins are sealed only with the integral lock- tape or stickers are not used
13 | The label on sharps bins is completed regarding date and person assembling and closing the bin once full, including the address/ postcode of the premises
14 | Sealed and locked sharps bins are stored in a dedicated, locked area prior to disposal, away from public areas
15 | Sharps bins are collected on a regular basis by a registered waste management company
16 | Sharps bins are not placed in waste bags prior to disposal
17 | Inappropriate re-sheathing does not occur i.e. used razors/needles are not re-sheathed (ask member of staff)
18 | Sterile disposable needles are used and are single use only, disposed as a single unit if attached to needle bars for tattooing
19 | Staff are aware of what to do if there is a sharps injury (ask a member of staff)
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Std6
STANDARD 6
Appropriate chemicals are used correctly and safely to reduce the risk of infection
|  | Yes | No | N/A | Comments
1 | Chemical detergents/disinfectants and autoclave/ultrasonic bath fluids are used in accordance with the manufacturers’ instructions and stored safely. BS EN 1276 means cleaning product is antibacterial.
2 | Trigger spray bottles in use are pre filled (manufactured) environmental cleaning solutions. The bottles are disposed of when empty
3 | Trigger spray bottles are not used for locally made up environmental cleaning solutions
4 | Risk assessments/ data sheets are available in accordance with Control of Substances Hazardous to Health (COSHH) regulations.
5 | Staff are trained on the hazards of products and chemicals they are using in the premises
6 | All chemical containers are labelled with the name of the product and hazard warnings
7 | There are material safety data sheets for products used in the premises
8 | Staff are aware of where material safety data sheets are kept and understand their purpose
9 | Flammable or toxic chemicals are kept in closed containers and locked away when not in use and are not accessible by the general public
10 | Eating and drinking is prohibited in areas where products or chemicals are used
11 | Chemical solutions are not decanted (poured from one bottle to another)
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Std7
Standard 7
Staff and clients are protected from blood borne viruses (e.g. hepatitis B, hepatitis C and HIV)
|  | Yes | No | N/A | Comments
1 | Staff are aware of what to do if there is an environmental blood/body fluid contamination (e.g. a blood spill) (ask a member of staff)
2 | Personal protective equipment (PPE) is available for use for any environmental blood/body fluid contamination incident
3 | Dedicated equipment is available for cleaning up and decontaminating environmental blood and body fluid contamination
4 | Equipment used to clear up environmental blood/body fluid contamination is disposable or able to be decontaminated
5 | Hypochlorite that can be prepared from NaDCC (Sodium Dichloroisocyanurate) to give a solution of 10,000 ppm available chlorine is available for environmental blood contamination
6 | Appropriate disinfectants are available for cleaning environmental body fluid contamination
7 | There are arrangements in place to encourage staff to be immunised against hepatitis B
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Std8
Standard 8
Patients’ information is recorded and stored according to data protection requirements.
|  | Yes | No | N/A | Comments
1 | Records are kept of patient information in a locked and secure place and in line with Data Protection Act 2018 requirements
2 | Records include:
· Name
· Address
· Date of birth and Age
Photograph
· Proof of photographic identification -if patient looks under 25 ( treatment for 18 years old and over)
· Part of body to be treated
· Medical history
· Health related questions and assessment
· Signed consent form
· Name of practitioner giving treatment/ procedure
· Date treatment/procedure undertaken
· Details of treatment undertaken
· Patient specific directions for all prescribed medicines and procedures
3 | Patient records are documented in English
4 | Patients are given verbal after care information
5 | Patients are informed how to make subject access requests
6 | Patients are given written after care information
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Std9a
STANDARD 9
Reuseable equipment and instruments are adequately decontaminated (including sterilised as required) and stored correctly prior to any reuse to reduce the risk of cross infection and to manage any associated risks
9a) Handling, storage and general principles of decontamination of reusable equipment :
|  | Yes | No | N/A | Comments
1 | Equipment is cleaned, maintained and stored appropriately
2 | Evidence that single use equipment is used only once and immediately disposed of
3 | Equipment is stored in fresh tap water within a labelled, robust, washable container or in a high humidity atmosphere (a closed vessel with a small amount of water) until cleaned and disinfected/ autoclaved on the day of use
4 | There is a dedicated and separate decontamination area for equipment/instruments, away from the operating/clinical area
5 | There is a workflow system that segregates clean from dirty procedures and ensures effecttive segregation of dirty from clean instruments
6 | Once correctly decontaminated (including sterilisation as appropriate as per risk assessment) , instruments are stored clean and dry in clearly labelled, washable, lidded boxes and in clean drawers/cupboards or on shelving until use
7 | Sterile and clean products are stored in appropriate containers and above floor level
8 | Water boilers, hot air heaters, glass bead heaters (‘sterilisers’), atmospheric pressure steam 'sterilisers' or ultraviolet light chambers are not used to sterilise instruments
9 | Correct PPE is used for decontamination processes:
Disposable gloves
Disposable apron
Goggles
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Std9b
10b) Manual cleaning and disinfection procedures for reuseable equipment
|  | Yes | No | N/A | Comments
1 | Correct PPE is used for manual cleaning:
Disposable gloves
Disposable apron
Goggles
2 | Disposable, single use brushes or daily autoclavable brushes or brushes washed after use (and replaced at manufacturer's recommended interval or when damaged) are used for cleaning instruments
3 | There is a separate dedicated sink with hot and cold water available where the cleaning of equipment takes place. The dimensions of this sink should allow items to be washed under water
4 | Manual cleaning occurs with equipment/instruments fully immersed under the water surface (and not cleaned under running water)
5 | Sharp items are never cleaned manually
6 | Appropriate detergent is used for cleaning, and used as per manufacturer instructions. BS EN 1276 products apply to antibacterial.
7 | Equipment is /instruments are rinsed after cleaning and checked for any residual debris before drying
8 | Correct and documented disinfectant/sterilisation of equipment occurs after cleaning, following manufacturer instructions
9 | Disinfectant solution is changed in accordance with manufacturers advice (see data sheet)
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Hep B blood tests (hidden)
Blood test results following hepatitis B vaccinations
Hepatitis B surface antibody levels | Staff status
more than 100 lU/ml | Successful response to the vaccination.
The individual is immune.
10 -100 IU/ml | Partial response.
The individual requires an additional dose of vaccine.
below 10 IU/ml | Poor or no response.
The individual is a non-responder and is not immune*.
* If the member of staff is not immune to hepatitis B, there should be documentation, in the form of a blood test, showing they are not infectious hepatitis B carriers.

## Std10
STANDARD 10
LASER LIPLED
There are adequate processes in place to allow safe use of lasers and/or light therapies
|  | Yes | No | N/A | Comments
1 | There is a named LPA appointed with roles & responsibilities clearly defined
2 | There is a named LPS who has specific training for devices in use in addition to CofK
3 | All practitioners working in this field have training of recognised/accredited Core of Knowledge (taken within 5 years as dictated by MHRA)
4 | There are Local Rules in place for each laser on site
6 | There are accurate records of device, serial numbers, intended treatments for each device Patient consent records Separate treatment Protocols for each device Treatment protocol approved by EMP includes: § name and technical specification of equipment § contraindications § treatment technique – general § treatment technique – specific § client consent prior to treatment § cleanliness and infection control § pre-treatment tests § post-treatment care § recognition of treatment-related problems
7 | There is a suitable entrance warning sign or light entry system which complies with Health and Safety (Safety and Signs and Signals Regulations 1996 and BS EN 60825-1
8 | There is protective eyewear in place as indicated by the Local Rules and covers the corect wavelength.Eyewear covers full wavelength range - scale number e.g. 315-1400nm L7 (IR
9 | There is an Eye/skin adverse incident policy & procedure in place
10 | There is a Laser/light device risk assessment complete and appropriate
11 | Devices are serviced in line with manufacturer guidelines and records made available
12 | There is laser proof blinds/barriers in place at windows, which block optical radiation, if indicated by the local rules
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Std11
STANDARD 10
Medicine Management. Medicines are stored and managed safely.
|  | Yes | No | N/A | Comments
1 | Medicines are stored in locked cupboards or refrigerators as appropriate or according to the manufacturer’s instructions
2 | There is a medicines register of drug stock in and drugs used and there is evidence of correct drug stock management
3 | There is a system for the supervision and recorded management of medicines cupboard keys
4 | Medical fridge temperatures are recorded daily, with minimum and maximum temperatures.
5 | There is a system in place for checking expiry dates of all medicines
6 | Unused medicines are disposed of in the correct waste stream
7 | Medicines delivered from the pharmacy are checked and distributed to store cupboards and/or fridges without delay
8 | Medicines are 'managed' in line with the SPC and used accordinglly unless otherwise directed.
9 | Medicines are administered against the signed, legible directions of an appopriate prescriber entered in the notes.
10 | Blank Prescriptions are stored securely
11 | patients are provided with a copy of the medicines patient information leaflet
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Std12
STANDARD 12
Health and Safety - General
There are H&S systems in place to ensure the safety of staff, visitors and patients
|  | Yes | No | N/A | Comments
1 | The employer understands their role responsibilities in relation to Health and Safety
2 | The employer provides medical / health screening if appropriate and any required medical / health surveillance
3 | The employer has access to competent health and safety advice and assistance and there is evidence of risk assessment complete with risks identified , hazards and controls
4 | Health and safety is reviewed annually and there is written evidence to show this has been completed and actions recorded
5 | The liability insurance is current and other insurance in place as appropriate to the business undertaking
6 | The working environment (temperature, space, ventilation, noise) is an appropriate safe and healthy one. Space - there should be enough space to reach 2 sides of the couch. Ventilation - there should be 10 air changes per hour, Temperature - this should be comfortably for the patient and staff member to comfortably work in
7 | Welfare facilities are offered (toilets, washing, drinking water, changing) is provided
8 | There is dedicated hand washing facilities. The sink must not be dual purpose e.g. a kitchen or bathroom sink
9 | There are appropriate laundry facilities and supplies of clean linen/towels sufficient for each treatment/procedure and for additional use for modesty reasons as required?
10 | The substances which fall under the Control of Substances Hazardous to Health Regulations 2001are kept in a suitable storage with safety data sheet
11 | Facilities are provided to ensure modesty and privacy appropriate to the treatment/procedure
12 | The door to the clinical area is lockable
13 | There a clinical couch available with a multi positioning back rest and is able to facilitate emergency positioning
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Std13
STANDARD 13
Health and Safety - Fire and Emergencies are managed in line with Regulatory Reform (Fire Safety) Order 2005
|  | Yes | No | N/A | Comments
1 | There a means of raising the alarm and fire detection in place
2 | There are appropriate means of fighting fire in place
3 | There are effective means of escape in place including unobstructed routes and exits
4 | There a named person(s) responsible for managing emergencies
5 | There are fire-fighting equipment, preventive measures and emergency arrangements maintained, including through tests and practise drills
6 | There is a fire log/record book kept to record fire checks and evacuation drills
7 | There is evidence of a bespoke fire safety risk assessment
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Std14
STANDARD 14
Health and Safety - there are adequte first aid arrangements in place in line with First Aid – Health and Safety (First-Aid) Regulations 1981
|  | Yes | No | N/A | Comments
1 | There are adequate arrangements for first aid materials
2 | There are adequate trained first aid persons been recorded (this is optional where there are fewer than 5 employees)
3 | There is process for recording incidents and accidents and all staff are aware of this
4 | Provision, level of training and the equipment/facilities for First Aid is determined by the numner of employees and type of injuries likely to be encountered
5 | All legally reportable accidents, incidents and ill-health are reported to the enforcing authority and are investigated to enable suitable remedial action is taken
Total |  | 0 | 0 | 0
Score |  | #DIV/0!

## Action Plan
ACTION PLAN FOR STANDARD NUMBER…………….
This sheet should be used for creating an action plan for each standard, as necessary. Please complete legibly and retain a copy of this plan and the other comment sheets etc for your own records. Please copy as required for each standard.
Premises name:
Action plan completed by (print name and position):
Date:
Problem/s identified :
Action planned to resolve problem:
Resources required to achieve outcome/potential or actual :
Resource limitations and how these might be overcome:
Person responsible for outcome:
Planned date to achieve outcome:
Planned date to review outcome/reaudit: